## Sheet1
Material_Item_No | Material_Description | Language | Internal_Material_Number. | Plant_Code | Part_Number | Manufacturer_Name | Material_Group
8000000001 | SOCKET DUEL ETHERNET | ENGLISH | 9000074223 | H001 | PCA-6186 | ADVANTECH | ISPR72
8000000284 | SWITCHING POWER SUPPLY 100-120V AC | ENGLISH | 9000074230 | H002 | S-100-15 | MEAN WELL | ISPR72 | Based on Formula
8000000290 | RELAY 24V DC 8PIN | ENGLISH | 9000074232 | H003 | 2494C | OMRON | ISPR72
8000000303 | RELAY 110V AC 8PIN | ENGLISH | 9000074236 | H004 | G2R-2-5 N | OMRON | ISPR72 | Column1 | Column2
8000000333 | CURRENT RELAY 8A 250V 50/60HZ | ENGLISH | 9000074241 | H005 | RM4JA31F | TELEMECANI | ISPR72 | Questions | Answers
8000000340 | RELAY WITH BASE 250V AC 10A 30V DC 5PIN | ENGLISH | 9000074243 | H006 | C10-A10R | RELECO | ISPR72 | Q1 | RELECO
8000000350 | RESISTOR 5K OHM | ENGLISH | 9000074244 | H007 | GR400 | FUJI ELCT. | ISPR53 | Q2 | 66
8000000388 | SELECTOR SWITCH 3 POSITION IP65 | ENGLISH | 9000074251 | H008 | ASW320 | IDEC | ISPR72 | Q3 | 9000073522.1515
8000000396 | SELECTOR SWITCH 3 POSITION | ENGLISH | 9000074253 | H009 | ASW3L3S-243 | IDEC | ISPR72 | Q4 | 0
8000000408 | LIMIT SWITCH | ENGLISH | 9000074254 | H010 | EGM12-1208C1791 | EUCHNER | ISPR72 | Q5 | 1
8000000409 | SWITCH 2WAY | ENGLISH | 9000074256 | H011 | S262-C6 | ABB | ISPR54 | Q6 | DEEP GROOVE BALL BEARING 50X110X27 MM , SKF
8000000418 | LIMIT SWITCH | ENGLISH | 9000074258 | H012 | TD422-O1Y | HUMMEL | ISPR72 | Q7 | 8
8000000452 | CURRENT TRANSFORMER | ENGLISH | 9000074263 | H013 | 816-94 3T-SNLSXN | CROMPTON | ISPR72 | Q8 | 99
8000000473 | FUSE BOX 690V 10 X 38 32A | ENGLISH | 9000074268 | H014 | DL16.17.5.SF | ABB | ISPR72 | Q9 | 1
8000000481 | RELAY BASE | ENGLISH | 9000074270 | H015 | SR2P-06B | IDEC | ISPR72 | Q10 | 8000000001
8000000494 | SPHERICAL ROLLER BEARING 75X160X37 MM | ENGLISH | 9000074274 | H016 | 21315 E | SKF | ISPR03 | Q11 | 7
8000000511 | DEEP GROOVE BALL BEARING 50X110X27 MM | ENGLISH | 9000074277 | H017 | 6310 2Z | SKF | ISPR03 | Q12 | 014
8000000545 | BLOCK MANIFOLD EXHAUST | ENGLISH | 9000074284 | H018 | JCK1 | ZPMC | ISPR73 | Q13 | 99
8000000563 | BLOCK MANIFOLD | ENGLISH | 9000074285 | H019 | JCK943-RV | ZPMC | ISPR73 | Q14 | 8000002821
8000000587 | LINING BRAKE | ENGLISH | 9000074290 | H020 | YWH200.300.ED300.50 | ZPMC | ISPR05 | Q15 | 1
8000000596 | BREATHER | ENGLISH | 9000074292 | H021 | GB-0035 | ZPMC | ISPR16 | Q16
8000000598 | BUFFER BLOCK | ENGLISH | 9000074293 | H022 | TSB40D01-03 | ZPMC | ISPR73 | Q17 | 5
8000000614 | HALF COUPLING | ENGLISH | 9000074298 | H023 | JL44C060102 | ZPMC | IHWR04 | Q18 | EN
8000000631 | COUPLING | ENGLISH | 9000074301 | H024 | K35WD9+11 | BAUMER | IHWR04 | Q19 | 8000000880,'8000001590
8000000656 | LOCKING CYLINDER | ENGLISH | 9000074302 | H025 | TZP06-B010 | ZPMC | IREP13 | Q20 | H021 | ZPMC
8000000657 | TWISTLOCK CYLINDER 40/25-110 | ENGLISH | 9000074303 | H026 | 40-25-110 | ZPMC | IREP13 |  | H027 | HYDAC
8000000664 | FILTER ELEMENT | ENGLISH | 9000074304 | H027 | 0060R010BN.HC.KB | HYDAC | ISPR16 |  | H028 | REXROTH
8000000673 | SUCTION FILTER ELEMENT | ENGLISH | 9000074305 | H028 | 0100S125W-B0.2 | REXROTH | ISPR16 |  | H052 | HYDAC
8000000684 | FRAME RACK ARRANGEMENT | ENGLISH | 9000074309 | H029 | JL6606010601 | ZPMC | ISPR73 |  | H053 | STAUFF
8000000685 | CABLE GUIDE DEVICE ASSEMBLY | ENGLISH | 9000074310 | H030 | DLJ-3G | ZPMC | ISPR72
8000000721 | GEAR 42 X 8 | ENGLISH | 9000074313 | H031 | JL48080102 | ZPMC | ISPR18
8000000742 | GEAR REDUCER | ENGLISH | 9000074315 | H032 | FH1210.51A.CIB-04 | ZPMC | ISPR18
8000000743 | GEAR REDUCER | ENGLISH | 9000074316 | H033 | FH1210.51A.CIB-00 | ZPMC | ISPR18
8000000751 | HYDRAULIC HOSE | ENGLISH | 9000074321 | H034 | F381DOCF151508-1220 | ZPMC | IHWR08
8000000846 | RECTIFIER BRIDGE IP 220V AC OP 110V DC | ENGLISH | 9000074330 | H035 | 14.630.32.016 | LENZE | ISPR72
8000000880 | INDUCTIVE SENSOR 20-140V AC/DC 8 II IP67 | ENGLISH | 9000074339 | H036 | IGS001 | IFM | ISPR72
8000000885 | INDUCTIVE SENSOR 20-250V AC/DC 10 MM | ENGLISH | 9000074340 | H037 | II0296 | IFM | ISPR72
8000000909 | SHAFT | ENGLISH | 9000074341 | H038 | 01.0808B | ZPMC | ISPR18
8000000929 | SHAFT | ENGLISH | 9000074346 | H039 | FH1210.51A.CIB-03 | ZPMC | ISPR18
8000000939 | SHEAVE | ENGLISH | 9000074348 | H040 | JL5006020301 | ZPMC | ISPR32
8000000958 | GUIDE SLEEVE | ENGLISH | 9000074354 | H041 | ZH965C.ETWLTS00.05 | ZPMC | ISPR33
8000001013 | WHEEL ASSEMBLY | ENGLISH | 9000074365 | H042 | JL73060702 | ZPMC | ISPR73
8000001050 | CABLE CONNECTOR | ENGLISH | 9000073288 | H043 | 1002268 | IFM | IHWR02
8000001092 | CONTACTOR 440V 2NO+2NC 3POLE | ENGLISH | 9000073311 | H044 | AF370-30-11-13 | ABB | ISPR72
8000001093 | RESISTANCE TEMPERATURE CONTROLLER | ENGLISH | 9000073322 | H045 | BWDK-3207 | NANJING S | ISPR72
8000001115 | AUTOMOTIVE BLADE FUSE 15A | ENGLISH | 9000073343 | H046 | 79367 | IFM | ISPR54
8000001148 | PLUG SOCKET 24M | ENGLISH | 9000073385 | H047 | 71946 | IFM | ISPR72
8000001150 | LIMIT SWITCH 10A 125V 1NO+1NC IP67 | ENGLISH | 9000073411 | H048 | AZ 5105 | MATSUSHITA | ISPR72
8000001178 | CPU MODULE SIMATIC S7-400 | ENGLISH | 9000073454 | H049 | 6ES7416-2XK02 | SIEMENS | ISPR72
8000001285 | BRAKE ASSEMBLY WITH COIL 205V DC FM 160 | ENGLISH | 9000073565 | H050 | MATR 068639 |  | ISPR05
8000001293 | CLIP TURN BUCKLE | ENGLISH | 9000073579 | H051 | A2.7GB561.65 |  | ISPR73
8000001309 | AIR FILTER | ENGLISH | 9000073611 | H052 | ELFP4F10W1.X | HYDAC | ISPR16
8000001343 | FILTER SUCTION | ENGLISH | 9000073615 | H053 | SUS-P 102 B24P-200-125-3 | STAUFF | ISPR16
8000001364 | BRAKE DISC 7.5KW 380VAC 50HZ 1000RPM | ENGLISH | 9000073641 | H054 | QAEJ160.M6 | ABB | ISPR05
8000001380 | SENSOR HOOK LATCH | ENGLISH | 9000073687 | H055 | LR14XBF03DPOB-E2 | LANBAO | ISPR72
8000001386 | WHEEL 630 X 75 | ENGLISH | 9000073753 | H056 | TWF2 |  | ISPR73
8000001510 | NEEDLE BEARING 45 X 55 X 20 MM | ENGLISH | 9000073891 | H057 | K045X055X20 | KESSLER | ISPR03
8000001511 | FAN BELT 1020MM 8PK | ENGLISH | 9000073894 | H058 | 8PK1020 | CONTITECH | ISPR04
8000001542 | VALVE | ENGLISH | 9000073938 | H059 | 29860534 |  | ISPR40
8000001548 | HYDRAULIC VALVE | ENGLISH | 9000073940 | H060 | 2266963502 |  | ISPR40
8000001584 | BELT 1822MM | ENGLISH | 9000074004 | H061 | 8PK-1822 | MICROBELTS | ISPR04
8000001590 | SPHERICAL PLAIN BEARING 90 X 130 X 60 MM | ENGLISH | 9000074031 | H062 | GE 90 DO | ELGES | ISPR03
8000001630 | ROTARY ENCODER | ENGLISH | 9000074159 | H063 | 40.8.OS12ZV |  | ISPR72
8000001669 | COOLING FAN 230V AC 50/60HZ 21/19 W | ENGLISH | 9000074165 | H064 | FA12038-AC |  | ISPR15
8000001737 | AMPERE METER 0-950A SCALE 0+10 V DC | ENGLISH | 9000074188 | H065 | 204010.1 |  | ISPR69
8000001749 | AMPERE METER 0-140A SCALE 0+10V DC | ENGLISH | 9000074190 | H066 | 204010.3 |  | ISPR69
8000001826 | POWER NETWORK METER 50-720V AC | ENGLISH | 9000074197 | H067 | DMG610 | LOVATO ELC | ISPR69
8000001835 | PLUG STRAIGHT 13A 250V 3 FLAT PIN IP56 | ENGLISH | 9000074220 | H068 | 56P313 | SCHNEIDER | ISPR73
8000001871 | LOCKING CYLINDER | ENGLISH | 9000074302 | H069 | 6191500 |  | IREP13
8000001889 | ABSOLUTE ENCODER 10-30V 10M CABLE | ENGLISH | 9000073335 | H070 | 0566 237 | HENGSTLER | ISPR72
8000001923 | SPHERICAL ROLLER BEARING | ENGLISH | 9000073518 | H071 | GB288-87 |  | ISPR03
8000001924 | THROTTLE VALVE | ENGLISH | 9000073737 | H072 | DVE.10.01.X.0 | FLUTEC | ISPR40
8000001928 | SWITCH | ENGLISH | 9000073802 | H073 | 55172 |  | ISPR72
8000002030 | GEAR OIL | ENGLISH | 9000045566 | H074 | F-220 | SHELL | IFOL04
8000002109 | LOCK WASHER | ENGLISH | 9000072982 | H075 | 2333.2015 | FANTUZZI | IHWR13
8000002140 | THRUST WASHER | ENGLISH | 9000072987 | H076 | 29875083 | FANTUZZI | IHWR13
8000002147 | WHEEL NUT | ENGLISH | 9000072989 | H077 | 29820140 | KONECRANES | IHWR13
8000002242 | TIRE RIM REAR | ENGLISH | 9000072996 | H078 | 3E.211002 | PANDA S. | ITBA02
8000002289 | WHEEL STUD FRONT | ENGLISH | 9000073002 | H079 | 25303-02102 | TCM | IHWR13
8000002298 | BOLT | ENGLISH | 9000073005 | H080 | 23654.3982 | TCM | IHWR13
8000002300 | BOLT | ENGLISH | 9000073006 | H081 | 01103-10045 | TCM | IHWR13
8000002356 | SCREW | ENGLISH | 9000073054 | H082 | 100.101.0100.45 | ABC | IHWR13
8000002362 | SCREW | ENGLISH | 9000073055 | H083 | 100.101.0100.75 | ABC | IHWR13
8000002389 | CAP SCREW SOCKET HEXAGONAL | ENGLISH | 9000073063 | H084 | 100.130.0080.40 | ABC | IHWR13
8000002393 | SCREW | ENGLISH | 9000073064 | H085 | 100.130.0120.25 | ABC | IHWR13
8000002478 | SCREW HEXAGONAL | ENGLISH | 9000073077 | H086 | 900.108.0120.30 | ABC | IHWR13
8000002485 | SCREW | ENGLISH | 9000073079 | H087 | 221040.05 | ALFA LAVAL | IHWR13
8000002489 | SCREW ADJUSTING WITH BALL HEAD | ENGLISH | 9000073080 | H088 | 620.011.8400.02 | ABC | IHWR13
8000002493 | SCREW ADJUSTING | ENGLISH | 9000073081 | H089 | 620.011.7408.01 | ABC | IHWR13
8000002516 | SCREW | ENGLISH | 9000073083 | H090 | 100.130.0100.30 | ABC | IHWR13
8000002543 | WASHER COPPER | ENGLISH | 9000073088 | H091 | 100.004.0140.18 | ABC | IHWR13
8000002545 | WASHER COPPER | ENGLISH | 9000073089 | H092 | 100.004.0160.20 | ABC | IHWR13
8000002571 | WASHER COPPER | ENGLISH | 9000073092 | H093 | 100.004.0270.32 | ABC | IHWR13
8000002599 | WASHER COPPER | ENGLISH | 9000073093 | H094 | 100.004.0330.39 | ABC | IHWR13
8000002600 | WASHER COPPER | ENGLISH | 9000073094 | H095 | 100.004.0480.55 | ABC | IHWR13
8000002607 | WASHER | ENGLISH | 9000073098 | H096 | 100.232.0080.00 | ABC | IHWR13
8000002618 | WASHER | ENGLISH | 9000073099 | H097 | 100.233.0100.00 | ABC | IHWR13
8000002651 | WASHER 0.7MM | ENGLISH | 9000073103 | H098 | 610.018.9013.10 | ABC | IHWR13
8000002821 | WASHER COPPER | ENGLISH | 9000073115 | H099 | 900.001.0130.19 | ABC | IHWR13